## Ark1
2025-11-05 | Valve ID | DFC number | Treatment | Δpa | Aplication time (picarro) | Q [L/s] | Const | unit | comment
Notes | 1 | 1 | Machine TH | 132.8 | 11:48 | 34.5717 | 3 | [-] | emperical correction factor
0.7 kg slurry pr chamber | 2 | 2 | Machine TH | 123.1 | 11:48 | 33.2851
applied in 2 bands center of DFC in-between | 3 | 3 | Machine TH | 122.6 | 11:48 | 33.2175
AA = acetic acid | 4 | 4 | Machine OSI | 122.7 | 12:02 | 33.231
Slurry was applied and the DFC was placed ≈ 1 min before a cycle-shift | 5 | 4 | Background | 122.7 | 12:02 | 33.231
| 6 | 5 | Machine OSI | 125.5 | 12:02 | 33.608
Presure drop, avg of 30 s measurement | 7 | 6 | Machine OSI | 128.8 | 12:02 | 34.047
| 8 | 7 | H2SO4 | 126.9 | 1:51 | 33.795
Piccaro has a 22 minute delay to real time | 9 | 7 | Background | 126.9 | 1:51 | 33.795
ex real time 11:55 , picarro shows 11:33 | 10 | 8 | No acid | 129.4 | 2:02 | 34.1262
| 11 | 9 | AA | 121.4 | 2:10 | 33.0545
Piccaro-cycle restarted 12:42 pic-time | 12 | 10 | AA | 124.3 | 2:17 | 33.447
As handheld was performed in the afternoon | 13 | 11 | H2SO4 | 125 | 2:24 | 33.541
| 14 | 12 | No acid | 126.5 | 2:32 | 33.7417
DFC 9 was confused with 10 confused during aplication | 15 | 13 | No acid | 143.1 | 2:40 | 35.8873
quickly exhanced, some inital data might unrelable | 16 | 13 | Background | 143.1 | 2:40 | 35.8873
| 17 | 14 | AA | 135.3 | 2:56 | 34.8956
DFC ??? PD-drop measureing valve was quite worn out | 18 | 15 | H2SO4 | 124.4 | 3:04 | 33.4604
Water opserved dripping from DFC 8 | 19 | 16 | Background | 129.3 | 3:12 | 34.113